NovaChem Chemicals Pvt. Ltd.
NovaChem Industrial Plant
Plot No. 18, GIDC Industrial Estate,
Vadodara, Gujarat - 390010

Maintenance Notification Email

# Document Information

| Document UUID | BFACBE42 |
| --- | --- |
| Document Number | EMAIL_EVT-035 |
| Event ID | EVT-035 |
| Chain ID | CH-012 |
| Equipment ID | B-101 |
| Department | Operations |
| Generated On | 15-Jul-2026 13:07 |
| Confidentiality | Internal Use Only |

# Document Control

| Document Number | EMAIL_EVT-035 |
| --- | --- |
| Issue Date | 18-Apr-2026 |
| Revision | Rev-1.0 |
| Prepared By | Neha Singh |
| Approved By | Arun Nair |
| Status | Approved |

# Email Information

| To | Operations Department |
| --- | --- |
| From | Neha Singh |
| Subject | Maintenance Activity - Steam Boiler |
| Date | 2026-04-18 |
| Related Event | EVT-035 |

# Email Subject

Maintenance Activity - Steam Boiler

# Email Body

Dear Team,

This is to inform you that maintenance activity has been performed on
Steam Boiler.

Issue Reported:

Routine inspection

Corrective Action Taken:

Passed

Equipment has been restored to normal operating condition.

Regards,

Maintenance Department

# Action Required

Please monitor the equipment during normal operation.

# Previous Equipment History

| Event | Date | Failure | Status |
| --- | --- | --- | --- |
| EVT-011 | 2026-02-05 | Scale buildup | Closed |
| EVT-012 | 2026-02-08 | Follow-up | Closed |
| EVT-013 | 2026-02-11 | Routine | Closed |
| EVT-014 | 2026-02-14 | Follow-up | Closed |
| EVT-015 | 2026-02-17 | Scheduled | Closed |
| EVT-020 | 2026-03-04 | Calibration drift | Closed |
| EVT-035 | 2026-04-18 | Scheduled | Closed |

# Linked Documents

INS_EVT-035.docx

# Recommendations

Conduct thermography inspection next month.

# Approval

| Prepared By | Neha Singh |
| --- | --- |
| Approved By | Arun Nair |