NovaChem Chemicals Pvt. Ltd.
NovaChem Industrial Plant
Plot No. 18, GIDC Industrial Estate,
Vadodara, Gujarat - 390010

Equipment Incident Report

# Document Information

| Document UUID | BB4243F3 |
| --- | --- |
| Document Number | INC_EVT-028 |
| Event ID | EVT-028 |
| Chain ID | CH-010 |
| Equipment ID | PG-101 |
| Department | Quality |
| Generated On | 15-Jul-2026 13:06 |
| Confidentiality | Internal Use Only |

# Document Control

| Document Number | INC_EVT-028 |
| --- | --- |
| Issue Date | 28-Mar-2026 |
| Revision | Rev-1.0 |
| Prepared By | Priya Patel |
| Approved By | Neha Singh |
| Status | Approved |

# Incident Information

| Incident Number | INC_-028 |
| --- | --- |
| Event ID | EVT-028 |
| Date | 2026-03-28 |
| Department | Quality |
| Area | Reactor Area |
| Shift | Morning |
| Reported By | Production Floor |
| Status | Closed |

# Equipment Details

| Equipment ID | PG-101 |
| --- | --- |
| Equipment Name | Pressure Gauge |
| Area | Reactor Area |
| Department | Quality |
| Shift | Morning |
| Reported From | Production Floor |
| Asset Criticality | Medium |
| Failure Category | Instrumentation |
| Downtime | 1 Hours |

# Incident Description

An incident was reported involving

Pressure Gauge

Description:

Parameter deviation

# Impact Assessment

| Severity | Low |
| --- | --- |
| Priority | Low |
| Downtime | 1 Hours |
| Asset Criticality | Medium |

# Root Cause Analysis

Initial investigation indicates:

Calibration drift

# Immediate Action Taken

Immediate corrective action taken:

Recalibrated

# Safety Classification

| Failure Category | Instrumentation |
| --- | --- |
| Severity | Low |
| Follow-up Required | No |

# Safety Requirements

Equipment was electrically isolated before repair.

# Recommendations

Replace similar components during annual shutdown.

# Previous Equipment History

| Event | Date | Failure | Status |
| --- | --- | --- | --- |
| EVT-028 | 2026-03-28 | Calibration drift | Closed |

# Linked Documents

EMAIL_EVT-028.txt

# Approval

| Prepared By | Priya Patel |
| --- | --- |
| Approved By | Neha Singh |