NovaChem Chemicals Pvt. Ltd.
NovaChem Industrial Plant
Plot No. 18, GIDC Industrial Estate,
Vadodara, Gujarat - 390010

Quality Inspection Report

# Document Information

| Document UUID | 24FE43DB |
| --- | --- |
| Document Number | QA_EVT-060 |
| Event ID | EVT-060 |
| Chain ID | CH-020 |
| Equipment ID | V-101 |
| Department | Quality |
| Generated On | 15-Jul-2026 14:00 |
| Confidentiality | Internal Use Only |

# Document Control

| Document Number | QA_EVT-060 |
| --- | --- |
| Issue Date | 02-Jul-2026 |
| Revision | Rev-1.0 |
| Prepared By | Priya Patel |
| Approved By | Neha Singh |
| Status | Approved |

# Quality Information

| Quality Report Number | QA_-060 |
| --- | --- |
| Event ID | EVT-060 |
| Department | Quality |
| Equipment | Relief Valve |
| Severity | Medium |
| Priority | Medium |
| Status | Closed |

# Equipment Details

| Equipment ID | V-101 |
| --- | --- |
| Equipment Name | Relief Valve |
| Area | Reactor Area |
| Department | Quality |
| Shift | Night |
| Reported From | CCR |
| Asset Criticality | Critical |
| Failure Category | Instrumentation |
| Downtime | 0 Hours |

# Quality Issue Description

Quality issue identified during inspection
of equipment:

Equipment Name:
Relief Valve

Reported Issue:

Parameter deviation

# Quality Findings

Quality inspection findings:

Failure Category:
Instrumentation

Severity:
Medium

Priority:
Medium

Equipment condition requires corrective action.

# Non Conformance Details

Non-conformance observed due to:

Calibration drift

The issue affected normal equipment performance.

# Root Cause Analysis

Calibration drift

# Corrective Action

Recalibrated

# Quality Assessment

| Failure Category | Instrumentation |
| --- | --- |
| Root Cause | Calibration drift |
| Corrective Action | Recalibrated |
| Follow-up Required | No |
| Asset Criticality | Critical |

# Verification Status

Corrective action verification completed.

Equipment performance checked and found
within acceptable operating parameters.

# Final Quality Status

Quality issue resolved and closed.

# Quality Engineer Remarks

Operator advised to monitor pressure readings for 48 hours.

# Safety Observation

Equipment was electrically isolated before repair.

# Inspection Tools Used

Torque Wrench

# Previous Equipment History

| Event | Date | Failure | Status |
| --- | --- | --- | --- |
| EVT-030 | 2026-04-03 | Loose flange | Closed |
| EVT-045 | 2026-05-18 | Routine | Closed |
| EVT-060 | 2026-07-02 | Calibration drift | Closed |

# Quality Inspection Checklist

☑ Lock Out / Tag Out (LOTO) Followed

☑ PPE Worn

☐ Visual Inspection Completed — Pending

☑ Lubrication Checked

☑ Leak Inspection Completed

☑ Alignment Verified

☑ Trial Run Successful

# Recommendations

Replace similar components during annual shutdown.

# Linked Documents

EMAIL_EVT-060.txt

# Approval

| Prepared By | Priya Patel |
| --- | --- |
| Approved By | Neha Singh |