## Document
NovaChem Chemicals Pvt. Ltd. NovaChem Industrial Plant Plot No. 18, GIDC Industrial Estate, Vadodara, Gujarat - 390010 Quality Inspection Report
Document Information
Document Control
Quality Information
Equipment Details
Quality Issue Description
Quality issue identified during inspection of equipment: Equipment Name: Temperature Gauge Reported Issue: Parameter deviation
Quality Findings
Quality inspection findings: Failure Category: Instrumentation Severity: Medium Priority: Medium Equipment condition requires corrective action.
Non Conformance Details
Non-conformance observed due to: Calibration drift The issue affected normal equipment performance.
Root Cause Analysis
Calibration drift
Corrective Action
Recalibrated
Quality Assessment
Verification Status
Corrective action verification completed. Equipment performance checked and found within acceptable operating parameters.
Final Quality Status
Quality issue resolved and closed.
Quality Engineer Remarks
Further monitoring is recommended before closing the case.
Safety Observation
LOTO procedure was followed throughout maintenance.
Inspection Tools Used
Torque Wrench
Previous Equipment History
Quality Inspection Checklist
☑ Lock Out / Tag Out (LOTO) Followed
☑ PPE Worn
☑ Visual Inspection Completed
☑ Lubrication Checked
☑ Leak Inspection Completed
☑ Alignment Verified
☑ Trial Run Successful
Recommendations
Conduct thermography inspection next month.
Linked Documents
EMAIL_EVT-044.txt
Approval